## Background
What is the purpose of this workbook?
Hazard mitigation planning requires every jurisdiction to identify facilities that are significant in the event of a local disaster. Identifying and mapping these facilities is a core component in building resilient communities. Much of this information can be used to update the Hazus inventory.
Hazus Inventory Updates
The information in this workbook groups facilities that are supported by Hazus-MH into three categories. The first is Essential Facilities which includes schools, care facilities, police stations, fire stations and emergency operation centers. These facilities are identified in the 'Essential Facilities' worksheet. Ensuring the accuracy of the Essential Facility data should be given high priority in every hazard mitigation planning project. The second category represents other types of site specific (based on points and lines) inventory for which, in at least one Hazus model, a loss estimation can be derived. These facilities are identified in the 'Other Site Specific Inventory' worksheet. Determining which of the 'Other Site Specific Inventory' data should be updated is a decision made on a case-by-case basis from a variety of factors that include the purpose of the project, the availability and quality of improved data, and the project budget. The third category represents inventory reported at an aggregate level. These data are represented in the 'Aggregate Inventory' worksheet. As is the case with the 'Other Site Specific Inventory' data, the decision about which of these inventory classes should be updated is made on a case-by-case, project specific basis. Individuals that should be involved in determining which inventory elements should be improved include the mitigation planner, the county GIS staff and other key stakeholders who can either provide updated inventory or who have a need for updated inventory.
Both the 'Hazus Essential Facilities' and the 'Other Hazus Inventory' worksheets include the following information.
Hazus Hazard – indicates the Hazus supported model(s) for which loss estimations can be derived. Options include Flood (FL), Earthquake (EQ), and Hurricane (HU). The value ‘All’ is listed if all three models can make use of the data.
Level of Effort – provides an indication of how difficult it may be to obtain and process the data for use in Hazus-MH. It is important to recognize that there is little consistency in how communities collect, manage and distribute spatial data and therefore the Level of Effort designations noted in the table are to be considered generalizations. Actual circumstances may vary widely by community. Each of these categories is based on the assumption that data obtained from local data providers will be processed by an experienced GIS user.
Moderate (M) indicates that the data type is often available in a GIS ready format, that the majority of the Hazus-MH required attributes are available and that attributes that are not normally available can be easily assigned reasonable default values.
High (H) indicates that the data type typically requires a great deal of time and effort to make it Hazus-MH enabled. It may not be in a GIS ready format – or it may require significant manipulation to make it Hazus-MH compatible, it may be missing significant amounts of Hazus required information, it may be difficult to acquire due to data policy limitations, etc.
Value of Effort – There are a wide range of use cases for which Hazus-MH can be applied. These include mitigation planning, floodplain management and supporting disaster operations to name a few. This column provides a brief description of the types of output that Hazus-MH can generate so that an assessment can be made of how important the data category is to collect.
Source – The information in the table includes the source of the Hazus provided data. These data are often spatially inaccurate and/or incomplete. However, if no other sources of information are available it may be worthwhile to see if an updated version of the data is available from the original source provider. Examples of recommended sources from which possibly better data might be obtained are also provided. It is important to note that the best data source providers vary by community and state. In each case the first place that should be checked for improved data is the local GIS department if one exists since the type of data used by Hazus is increasingly being collected at a high level of precision by those organizations.
In addition to the provided information, each worksheet includes questions to the right of the data categories. Most questions are annotated with a comment that provides guidance about the intent of the question. By answering these questions communities can evaluate the quality of their data with regard to its suitability for incorporation into the Hazus-MH inventory. The answers to these questions, combined with the established goals of the county mitigation planning process, can also help communities prioritize which data can and should be updated.
Community Assets
Community Assets include data that, while not modeled in Hazus-MH, are still important to the community in terms of protection, public use, economic viability and preservation. The following list provides examples of these types of data. However, each community is likely to have their own definition of what should be considered a community asset. In most cases these data should be obtained from a combination of the county GIS department and/or the local emergency management office.
Emergency Medical Services
Shelters
Day Cares
Historical Landmarks
Tourist Sites
Government facilities
Jurisdictional Boundaries
Levees
Communication Towers (Radio, Cell, TV)
Emergency Sirens
Other community defined facilities

## Essential Facilities
Data Type | Hazus Hazard | Level of Effort | Value of Effort | Typical Source | Is the data in a GIS-ready format or can it be easily made GIS-ready? | Is the geographic location of the data correct? | What is the date on which the data was last updated? | Is the data complete? | Does the data include all Hazus-MH required attributes? | Is the data publicly available or is it only available for a fee? | Can the data be publicly released? | What is the source of the data? | How was the data developed? | How often is the data updated?
Care facilities (hospitals and nursing homes) | All | M | EQ - Damage probabilities for facility. The expected reduction in available beds for each facility is also determined. FL - Damage probabilities for each facility. The building and content losses are calculated, the functionality is determined, and the time to restore the facility to 100 percent functionality is also estimated for each facility. HU - Damage probabilities for each health care facility. | Default: American Hospital Association (2000) Recommended – State Department of Health, Homeland Security Infrastructure Program (HSIP) database
Emergency Operation Center | All | M | EQ - Damage probabilities for each facility. FL - Damage probabilities for each facility. The building and content losses are calculated, the functionality is determined, and the time to restore the facility to 100 percent functionality is also estimated for each facility. HU - Damage probabilities for each health care facility. | Default - InfoUSA, Inc. (2001) and data already geocoded provided by FEMA. Recommended – County Emergency Management Agency or Homeland Security Infrastructure Program (HSIP) database
Fire Stations | All | M | EQ - Damage probabilities for each facility. FL - Damage probabilities for each facility. The building and content losses are calculated, the functionality is determined, and the time to restore the facility to 100 percent functionality is also determined for each facility. HU - Damage probabilities for each health care facility. | Default - InfoUSA, Inc. (2001) Recommended – County Emergency Management Agency or Homeland Security Infrastructure Program (HSIP) database
Police Stations | All | M | EQ - Damage probabilities for each facility. FL - Damage probabilities for each facility. The building and content losses are calculated, the functionality is determined, and the time to restore the facility to 100 percent functionality is also determined for each facility. HU - Damage probabilities for each health care facility. | Default – InfoUSA, Inc. (2001) Recommended – County Emergency Management Agency or Homeland Security Infrastructure Program (HSIP) database
Schools | All | M | EQ - Damage probabilities for each facility. FL – Damage probabilities for each facility. The building and content losses are calculated, the functionality is determined, and the time to restore the facility to 100 percent functionality is also determined for each facility. HU - Damage probabilities for each health care facility. | Default - National Center for Education Statistics, US Department of Education. (2000) Recommended – State Department of Education
BTS = Bureau of Transportation Statistics
DTO = Department of Transportation
EPA = U.S. Environmental Protection Agency
FEMA = Federal Emergency Management Agency
FHWA = Federal Highway Administration
USACE = U.S. Army Corp of Engineering
Note on G1: kmickey: Data that is ‘GIS-ready’ is stored in a standard GIS data format such as a shapefile or geodatabase. Data that can easily be made GIS-ready would include some type of information that allows the data to be located on a map. For example, an Excel spreadsheet that describes information about fire stations could be turned into a GIS dataset if coordinates are included for each fire station or if street addresses are included that could be geocoded.
Note on H1: kmickey: Ideally, points representing the locations of buildings should be placed on rooftops. The location of points is especially important with respect to modeling losses from flood hazards since the depth of the water from which losses are estimated is calculated at the location of the point. Lines representing the location of data such as roads or pipelines should be located in the center of these features.
Note on J1: kmickey: For example, if the data is supposed to represent all schools, does it include all schools or does it only represent selected schools such as those that are public schools vs those that are private.
Note on K1: kmickey: Hazus required attributes include information that is required for modeling losses. These attributes vary by data type but typically include information such as the use of a structure, its square footage, and a replacement cost. Hazus required attributes vary by data type and are described in the CDMS Data Dictionary. When Hazus is installed on a computer this document can be found in the C:\Program Files (x86)\Hazus-MH\CDMS folder in a file named CDMS Data Dictionary.pdf. It is recommended that the domain tables in particular be consulted to identify the specific requirements of each inventory component that Hazus can process. For example, while Hazus supports analysis of some types of Communications utilities, such as a television station, other components like communication towers are not supported.
Note on M1: kmickey: There may be restrictions imposed by the data source provider regarding how or if data can be distributed due to security concerns. This is often the case with data such as pipelines and key communication facilities.
Note on N1: kmickey: This information should identify the original data author, not just the person or organization from which the data was obtained. For example, a file containing schools may have been obtained from the county GIS coordinator. They, however, may have obtained it from the State Department of Education.
Note on O1: kmickey: Examples include geocoding to building footprints, geocoding to street centerlines, manually creating the data in a GIS by drawing on an accurate map, or some other method.
Note on P1: Mickey, Kevin J: This column should indicate the frequency with which the data is updated. If updated data is released on a specified schedule - for example, December 31st of each year - that should be indicated as well.

## Other Site Specific Inventory
Data Type | Hazus Hazard | Level of Effort | Value of Effort | Typical Source | Is the data in a GIS-ready format or can it be easily made GIS-ready? | Is the geographic location of the data correct? | What is the date on which the data was last updated? | Is the data complete? | Does the data include all Hazus-MH required attributes? | Is the data publicly available or is it only available for a fee? | Can the data be publicly released? | What is the source of the data? | How was the data developed? | How often is the data updated?
Advanced Engineering Building Model | EQ | H | The AEBM can be used to conduct very detailed, building specific, analysis in the earthquake model. Outputs include the majority of loss estimation outputs that can be derivied from the General Building Stock inventory including shelter and casualty estimates as well as detailed building economic impact assesments. | Information required for the AEBM inventory is very detailed in nature - far more so than the data required for the User Defined Facility inventory. While it is possible to create a User Defined Facility inventory for an entire community, it is likely that an AEBM inventory would be developed to address a specific, localized issue. AEBM inventory sources must provide detailed information about the structural characteristics, number of day and nighttime occupants, business income characteristics and other information about each building in the inventory.
Airport Facilities and Runways | EQ | M | Damage probabilities, repair costs and functionality. | Default - BTS, U.S. DOT (1999) Recommended – County GIS Department
Bus Stations | EQ | M | Damage probabilities, repair costs and functionality. | Default - InfoUSA, Inc. (2001) Recommended – County GIS Department
Communication Facilities | EQ | H | EQ – facility damage, loss and functionality | Default - Broadcast Auxiliary Microwave File, FCC (2001) Recommended – Local utilities, state utility regulatory commission or HSIP
Dams | None | M | Hazus does not model losses to dams. However it does include an inventory category that should be mapped as a reference layer. | Default - National Inventory of Dams, USACE (1999) Recommended – State Department of Natural Resources or related agency
Ferry Facilities | EQ | H | Damage state probabilities and functionality for each facility. | Default - Port and Waterway Facilities Database, USACE (2000) Recommended – State Port Authority or County GIS Department
Hazardous Materials Facilities | None | M | Hazus does not model losses to hazardous material facilities. However it does include an inventory category that should be mapped as a reference layer. | Default - Toxic Release Inventory Database, EPA (1999) Recommended – current EPA Toxic Release Inventory
Highway Bridges | EQ and FL | M | EQ – Damage probabilities, repair costs and functionality. FL – Percent damage, percent loss, dollar loss, percent functionality | Default - National Bridge Inventory Database, FHWA (2001) Recommended – State Department of Transportation
Highway Segments | EQ | M | Damage probabilities, repair costs and functionality. | Default – Tiger/Line Files, U.S. Census Bureau (2000) Recommended – State Department of Transportation
Highway Tunnels | EQ | M | Damage probabilities, repair costs and functionality. | Default - National Bridge Inventory Database, FHWA (2001) Recommended – State Department of Transportation
Light Rail Bridges | EQ and FL | M | EQ – Damage probabilities, repair costs and functionality. FL – Percent damage, percent loss, dollar loss, percent functionality | Default - National Bridge Inventory Database, FHWA (2001) Recommended - State Department of Transportation
Light Rail Facilities | EQ | M | Damage probabilities, repair costs and functionality. | Default – No data provided Recommended - State Department of Transportation
Light Rail Segments | EQ | M | Damage probabilities, repair costs and functionality. | Default - Fixed-Guideway Transit and Ferry Network database, BTS, U.S. DOT (2000). Recommended - State Department of Transportation
Light Rail Tunnels | EQ | M | Damage probabilities, repair costs and functionality. | Default – No data provided Recommended - State Department of Transportation
Military Facilities (includes National Guard) | EQ | M | Damage probabilities and functionality for each facility. | Default – None provided Recommended – County GIS Department (if available)
Natural Gas Facilities and Pipelines | EQ and FL | H | EQ – Pipeline damage, loss and functionality; facility damage, loss and functionality; and number of households without water FL - facility damage, loss and functionality | Default – no default pipeline data is provided outside of South Carolina. Facility data originates from the 2001 Environmental Protection Agency (EPA) Envirofacts Data Warehouse (Location Reference Tables (LRT) tool Recommended – Local utilities, state utility regulatory commission or HSIP
Nuclear Plants | None | H | Hazus provides an inventory entry for nuclear facilities but no losses from nuclear spills are calculated. | Default - U.S. Nuclear Regulatory Commission (2000) Recommended – same as default
Oil Facilities and Pipelines | EQ and FL | H | EQ – Pipeline damage, loss and functionality; facility damage, loss and functionality; and number of households without water FL - facility damage, loss and functionality | Default – no default pipeline data is provided outside of South Carolina. Facility data originates from the 2001 Environmental Protection Agency (EPA) Envirofacts Data Warehouse (Location Reference Tables (LRT) tool Recommended – Local utilities, state utility regulatory commission or HSIP
Port Facilities | EQ | M | Damage state probabilities and functionality for each facility. | Default - Port and Waterway Facilities Database, USACE (2000) Recommended – State Port Authority or County GIS Department
Potable Water Facilities and Pipelines | EQ and FL | H | EQ – Pipeline damage, loss and functionality; facility damage, loss and functionality; and number of households without water FL - facility damage, loss and functionality | Default – no default pipeline data is provided outside of South Carolina. Facility data originates from the 2001 Environmental Protection Agency (EPA) Envirofacts Data Warehouse (Location Reference Tables (LRT) tool Recommended – Local utilities, state utility regulatory commission or HSIP
Power Plants and Substations | EQ and FL | H | EQ – Facility damage, loss and functionality for power plants and substations. Also provides number of households without power FL – Percent damage, percent loss, dollar loss, percent functionality for power plants and substations | Default – no default pipeline data is provided outside of South Carolina. Facility data originates from the 2001 Environmental Protection Agency (EPA) Envirofacts Data Warehouse (Location Reference Tables (LRT) tool Recommended – Local utilities, state utility regulatory commission or HSIP
Railway Bridges | EQ and FL | M | EQ – Damage probabilities, repair costs and functionality. FL – Percent damage, percent loss, dollar loss, percent functionality | Default - National Bridge Inventory Database, FHWA (2000) Recommended - State Department of Transportation
Railway Facilities | EQ | M | Damage probabilities, repair costs and functionality. | Default - Amtrak Stations database (2000) and the Intermodal Terminal Facilities Database (1998), BTS, U.S. DOT Recommended – State Department of Transportation
Railway Segments | EQ | M | Damage probabilities, repair costs and functionality. | Default - National Rail Network Database, Bureau of Transportation Statistics (2000) Recommended - State Department of Transportation
Railway Tunnels | EQ | M | Damage probabilities, repair costs and functionality. | Default - National Bridge Inventory Database, FHWA (2001) Recommended - State Department of Transportation
User Defined Facilities | All | H | User Defined Facilities (UDFs) represent the locations of buildings as points. UDFs can be any building that can be assigned to one of the occupancy classes that are available in the General Building Stock. UDFs are important especially in the Flood model because they provide a much more accurate determination of building count, building economic damage and content damage than is possible using the General Building Stock. | The primary source from which to update the User Defined Facilities is property assessment data obtained from the County Assessor or local equivalent. However, in some states (such as Indiana) this data is compiled into a single statewide database. User Defined Facility locations can be obtained from building footprint centroids or parcel centroids provided these can be linked to the property assessement data records - typically through a parcel identification number. The best source for parcel data or building footprints is the county GIS department.
Wastewater Facilities and Pipelines | EQ and FL | H | EQ – Pipeline damage, loss and functionality; facility damage, loss and functionality; and number of households without water FL - facility damage, loss and functionality | Default – no default pipeline data is provided outside of South Carolina. Facility data originates from the 2001 Environmental Protection Agency (EPA) Envirofacts Data Warehouse (Location Reference Tables (LRT) tool Recommended – Local utilities, state utility regulatory commission or HSIP
BTS = Bureau of Transportation Statistics
DTO = Department of Transportation
EPA = U.S. Environmental Protection Agency
FEMA = Federal Emergency Management Agency
FHWA = Federal Highway Administration
USACE = U.S. Army Corp of Engineering
Note on G1: kmickey: Data that is ‘GIS-ready’ is stored in a standard GIS data format such as a shapefile or geodatabase. Data that can easily be made GIS-ready would include some type of information that allows the data to be located on a map. For example, an Excel spreadsheet that describes information about fire stations could be turned into a GIS dataset if coordinates are included for each fire station or if street addresses are included that could be geocoded.
Note on H1: kmickey: Ideally, points representing the locations of buildings should be placed on rooftops. The location of points is especially important with respect to modeling losses from flood hazards since the depth of the water from which losses are estimated is calculated at the location of the point. Lines representing the location of data such as roads or pipelines should be located in the center of these features.
Note on J1: kmickey: For example, if the data is supposed to represent all schools, does it include all schools or does it only represent selected schools such as those that are public schools vs those that are private.
Note on K1: kmickey: Hazus required attributes include information that is required for modeling losses. These attributes vary by data type but typically include information such as the use of a structure, its square footage, and a replacement cost. Hazus required attributes vary by data type and are described in the CDMS Data Dictionary. When Hazus is installed on a computer this document can be found in the C:\Program Files (x86)\Hazus-MH\CDMS folder in a file named CDMS Data Dictionary.pdf. It is recommended that the domain tables in particular be consulted to identify the specific requirements of each inventory component that Hazus can process. For example, while Hazus supports analysis of some types of Communications utilities, such as a television station, other components like communication towers are not supported.
Note on M1: kmickey: There may be restrictions imposed by the data source provider regarding how or if data can be distributed due to security concerns. This is often the case with data such as pipelines and key communication facilities.
Note on N1: kmickey: This information should identify the original data author, not just the person or organization from which the data was obtained. For example, a file containing schools may have been obtained from the county GIS coordinator. They, however, may have obtained it from the State Department of Education.
Note on O1: kmickey: Examples include geocoding to building footprints, geocoding to street centerlines, manually creating the data in a GIS by drawing on an accurate map, or some other method.
Note on P1: Mickey, Kevin J: This column should indicate the frequency with which the data is updated. If updated data is released on a specified schedule - for example, December 31st of each year - that should be indicated as well.

## Aggregate Inventory
Data Type | Hazus Hazard | Level of Effort | Value of Effort | Typical Source | Is the data in a GIS-ready format or can it be easily made GIS-ready? | Is the geographic location of the data correct? | What is the date on which the data was last updated? | Is the data complete? | Does the data include all Hazus-MH required attributes? | Is the data publicly available or is it only available for a fee? | Can the data be publicly released? | What is the source of the data? | How was the data developed? | How often is the data updated?
General Building Stock | All | H | The General Building Stock inventory consists of information about the structural materials and use of major categories of buildings found in a community. Key tables within the General Building Stock inventory include square footage, building replacement cost, content replacement cost and building count. General Building Stock is also characterized by tables referred to as Mapping Schemes. These tables describe the distribution of buildings based on characteristics such as foundation types, building materials and building quality. While it is often true that obtaining and processing these data can be challenging, the value of doing so is significant in that it will noticeably increase the credibility of the loss estimation process. | The primary source from which to update the General Building Stock is property assessment data obtained from the County Assessor or local equivalent. However, in some states (such as Indiana) this data is compiled into a single statewide database. The best source for parcel data or building footprints is the county GIS department or county Auditor’s office. Property assessment data is likely to provide input for three out of four of the key General Building Stock tables. These include square footage, building replacement cost, and building count. Content cost is not likely to be in property assessment data but it can be extrapolated from building replacement cost using the same factors applied in the Hazus provided inventory or other published industry factors. Some types of information required to update the mapping schemes may be found in property assessment data as well. Examples include foundation types. Other types of data, such as first floor elevation and building quality, may need to be obtained from other sources such as the local building officials.
Agriculture | FL | H | Damage percent and dollar loss | Default – National Agricultural Statistical Survey and Natural Resource Inventory. Recommended – same as default
Demographics | All | M | The Demographics inventory includes 59 variables that describe various social and economic characteristics. These values are reported at both census tract and census block level based, in the current release, on Census 2000 boundaries. The demographics data includes information on population age, ethnicity, income, various types of building occupancy and building age that are used to derive shelter estimates for all models. The information in this table is also used to support casualty estimates for the earthquake model. | Default - 2000 Census as well as Dun and Bradstreet Recommended – same as default source
Vehicles | FL | H | Counts and dollar losses for vehicles damaged if the flood occurs during the day and if the flood occurs at night | Default – This data set provides distributions and costs of vehicles for the HAZUS specific vehicle classifications developed from the 2000 U.S. Census and Dun& Bradstreet. All data was developed at the census block level for the United States in the fifty states, the District of Columbia, and the territories. It is based upon the 2000 version of TIGER/Line files and first quarter of 2008 data from Dunn and Bradstreet. The data was modified using typical Metropolitan Planning Organization (MPO) vehicle per square foot relationships. Recommended – State Bureau of Motor Vehicles or equivalent
Note on G1: kmickey: Data that is ‘GIS-ready’ is stored in a standard GIS data format such as a shapefile or geodatabase. Data that can easily be made GIS-ready would include some type of information that allows the data to be located on a map. For example, an Excel spreadsheet that describes information about fire stations could be turned into a GIS dataset if coordinates are included for each fire station or if street addresses are included that could be geocoded.
Note on H1: kmickey: Ideally, points representing the locations of buildings should be placed on rooftops. The location of points is especially important with respect to modeling losses from flood hazards since the depth of the water from which losses are estimated is calculated at the location of the point. Lines representing the location of data such as roads or pipelines should be located in the center of these features.
Note on J1: kmickey: For example, if the data is supposed to represent all schools, does it include all schools or does it only represent selected schools such as those that are public schools vs those that are private.
Note on K1: kmickey: Hazus required attributes include information that is required for modeling losses. These attributes vary by data type but typically include information such as the use of a structure, its square footage, and a replacement cost. Hazus required attributes vary by data type and are described in the CDMS Data Dictionary. When Hazus is installed on a computer this document can be found in the C:\Program Files (x86)\Hazus-MH\CDMS folder in a file named CDMS Data Dictionary.pdf. It is recommended that the domain tables in particular be consulted to identify the specific requirements of each inventory component that Hazus can process. For example, while Hazus supports analysis of some types of Communications utilities, such as a television station, other components like communication towers are not supported.
Note on M1: kmickey: There may be restrictions imposed by the data source provider regarding how or if data can be distributed due to security concerns. This is often the case with data such as pipelines and key communication facilities.
Note on N1: kmickey: This information should identify the original data author, not just the person or organization from which the data was obtained. For example, a file containing schools may have been obtained from the county GIS coordinator. They, however, may have obtained it from the State Department of Education.
Note on O1: kmickey: Examples include geocoding to building footprints, geocoding to street centerlines, manually creating the data in a GIS by drawing on an accurate map, or some other method.
Note on P1: Mickey, Kevin J: This column should indicate the frequency with which the data is updated. If updated data is released on a specified schedule - for example, December 31st of each year - that should be indicated as well.